## OTR
Labthink Plastic Proficiency Testing Service– 2024
Oxygen Transmission Rate
Please return to:
| Fax: | +86-531-85062108
| E-mail: | lab@labthink.com
Please fill in the corresponding information in the yellow area.
Test Lab No.:
Test Method:
Test Standard:
Equipment used (Name and Model):
| Test Condition: |  | 23 | ℃ | 0 | %RH
Test Result：
| Oxygen Transmission Rate |  |  |  | OTR Unit： |  | Remark
| Sample | Rep1 | Rep2 | Rep3 | Mean | S.D. | Thickness (μm)
A
B
Note: please fill in relevant information in the yellow area. The Mean and S.D. will be calculated by the software automatically.

## WVTR
Labthink Plastic Proficiency Testing Service– 2024
Water Vapour Transmission Rate
Please return to:
| Fax: | +86-531-85062108
| E-mail: | lab@labthink.com
Please fill in the corresponding information in the yellow area.
Test Lab No.:
Test Method:
Test Standard:
Equipment used (Name and Model):
| Test Condition: |  | 38 | ℃ | 90 | %RH
Test Result：
| Water Vapour Transmission Rate g/(㎡·24h) | [5 empty] | Remark
| Sample | Rep1 | Rep2 | Rep3 | Mean | S.D | Thickness (μm)
C
D
Note: please fill in relevant information in the yellow area. The Mean and S.D. will be calculated by the software automatically.

## Tensile Properties
Labthink Plastic Proficiency Testing Service – 2024
Tensile Properties
Please return to:
| Fax: | +86-531-85062108
| E-mail: | lab@labthink.com
Please fill in the corresponding information in the yellow area.
Test Lab No.:
Test Standard:
Equipment used (Name and Load Capacity):
| Test Condition: |  | 23 | ℃ | 50 | %RH
| Test Speed: |  | 300 | mm/min
| Sample Width |  | 15 | mm
| Grip Separation(Gauge Length) |  | 100 | mm
| Thickness |  |  | μm
Test Result：
| Tensile Force at Break (N) | [6 empty] | S.D.
| Sample | Rep1 | Rep2 | Rep3 | Rep4 | Rep5 | Mean
E
| Tensile Strain at Break (%) | [6 empty] | S.D.
| Sample | Rep1 | Rep2 | Rep3 | Rep4 | Rep5 | Mean
E
Note: please fill in relevant information in the yellow area. The Mean and S.D. will be calculated by the software automatically.